## Directions
How to Test and Optimize the Preformance of your F-751 Avocado Quality Meter
Step | Direction
1 | Collect at least 5 Hass avocado fruit for the trial. Make sure all fruit are firm and not soft. The set should include fruit from as wide a range as possible, from low to high dry matter (at least a range of 10% DM; for example 20 to 30% DM). The wider the range of fruit, the better.
2 | Prior to beginning the scans, ensure that all avocado are at room temperature by making sure they have been sitting out of direct sunlight in a room temperature setting (20-25 C) for at least 2 hours.
3 | Number the avocados 1-5 using a white or silver permanent marker.
4 | Take a total of 4 scans, equidistant from one another, around the equator of the fruit.
5 | Mark the location of each scan using the same white or silver permanent marker and label next to each scan site with the letters A, B, C and D.
6 | Scanning should proceed in the following order: "1A, 1B, 1C, 1D, 2A, 2B, ... " Note: you may also choose to use 10 fruit and only take 2 scans per side or 20 fruit with 1 scan per side.
7 | Record each predicted value in column E. | Sample | 751 Prediction
8 | Proceed to the tab marked "Analytical Dry Matter." | 1A
1B
1C
1D
2A
2B
2C
2D
3A
3B
3C
3D
4A
4B
4C
4D
5A
5B
5C
5D
Blue arrows in this template indicate where you need to input your data!

## Analytical Dry Matter
Step | Direction
1 | After the scans are complete, pre-weigh 20 empty, small weigh boats labeled 1A through 5D.
2 | Input the values of the weigh boats in column B marked "Boat Weight." Ideally, your scale should have a resolution of at least 0.01 g.
3 | Execute the next steps as quickly as possible to reduce the amount of water loss from the avocado samples.
4 | First, cut the avocado in half and remove the pit.
5 | Next, take a circular core approximately 2.5 to 3 cm wide and 1 cm deep, keeping the pulp at the scan site closest to the skin and discarding the rest.
6 | Place the sample core in the weigh boat and record the total weight in column C on the tab marked "Boat+Fresh Core."
7 | Dry the samples in a food dehydrator at 135 F (57 C) for 48 to 72 hours or follow your standardized microwave dehydration protocol, making sure not to burn any of the samples.
8 | Remove any burned samples from the analysis.
9 | Record the weight of the dried core in the weigh boat and record in column D marked "Boat + Dry Core."
10 | Proceed to the "Linear Regression" tab.
Your data goes here!
| Sample | Boat weight | Boat + Fresh Core | Boat + Dry Core | % Dry Matter
| 1 |  |  |  | #DIV/0!
| 2 |  |  |  | #DIV/0!
| 3 |  |  |  | #DIV/0!
| 4 |  |  |  | #DIV/0!
| 5 |  |  |  | #DIV/0!
| 6 |  |  |  | #DIV/0!
| 7 |  |  |  | #DIV/0!
| 8 |  |  |  | #DIV/0!
| 9 |  |  |  | #DIV/0!
| 10 |  |  |  | #DIV/0!
| 11 |  |  |  | #DIV/0!
| 12 |  |  |  | #DIV/0!
| 13 |  |  |  | #DIV/0!
| 14 |  |  |  | #DIV/0!
| 15 |  |  |  | #DIV/0!
| 16 |  |  |  | #DIV/0!
| 17 |  |  |  | #DIV/0!
| 18 |  |  |  | #DIV/0!
| 19 |  |  |  | #DIV/0!
| 20 |  |  |  | #DIV/0!
Note on B6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I think we could be a little more clear here about where they're taking a core from. Ie. Next, take a circular core approximately 2.5 to 3cm wide from your scan site. Keep the pulp closest to the skin (1cm deep at most) and discard the rest. Another question I had here was - which scan site? Any of the 4?
Note on B7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Place the sample core in the weigh boat and record the total weight in Column C under "Boat + Fresh Core" below.

## Linear Regression
Sample | 751 % DM Prediction | Analytical % DM |  | 751 % DM Prediction | Analytical % DM | Difference
1A | 0 | #DIV/0! | Average | 0 | #DIV/0! | #DIV/0!
1B | 0 | #DIV/0!
1C | 0 | #DIV/0! | Step | Directions
1D | 0 | #DIV/0! | 1 | Do the tradition dry matter values include values over 30% dry matter? If yes, remove those samples from the analysis.
2A | 0 | #DIV/0! | 2 | Does the average "751 DM Prediction" and "Traditional DM" values above differ by less than than 4% DM? If yes, proceed to step 3. If no, contact Felix Instruments.
2B | 0 | #DIV/0! | [5 empty] | Difference | #DIV/0!
2C | 0 | #DIV/0! | 3 | The below graph has preformed for you a linear regression of the 751 DM Predictions and the Traditional DM values. Is the R-squared greater than 0.7? If yes, proceed to step 4. If no, contact Felix Instruments.
2D | 0 | #DIV/0! | [5 empty] | R-Squared | #VALUE!
3A | 0 | #DIV/0! | 4 | Does the regression line (blue dotted line) fall on the black perfect fit line? If yes, your instrument is well calibrated and does not need adjusted. If not, proceed to step 5.
3B | 0 | #DIV/0!
3C | 0 | #DIV/0! | 5 | Is the regression line (blue dotted line) parallel or very near parallel to the black perfect fit line? If yes, proceed to the "Intercept Only" tab. If no, contact Felix Instruments.
3D | 0 | #DIV/0!
4A | 0 | #DIV/0!
4B | 0 | #DIV/0!
4C | 0 | #DIV/0! |  |  |  |  | *Important Note: This worksheet does not require any data entry! Do not input any data into any cell in the tab!
4D | 0 | #DIV/0!
5A | 0 | #DIV/0!
5B | 0 | #DIV/0!
5C | 0 | #DIV/0!
5D | 0 | #DIV/0!

## Intercept Update
Step | Direction
1 | On the Linear Regression tab, was the regression line (blue dotted line) parallel or very near parallel to the black perfect fit line? If you answered yes to this question, proceed to step 2. If you answered no to this question, please contact Felix Instruments.
2 | To change the Prediction Intercept, navigate to: Setup Instrument > Factory Setup> Passcode > 1111 > Menu Mode > Standard > Select Model > AvocadoModel_V11 > Advanced Options > Prediction Correction Intercepts > Dry Matter.
3 | Input the current Prediction Intercept Value here:
4 | Change the Prediction Intercept value to this: | #DIV/0!
5 | Press the right button to save the new Prediction Intercept.
6 | Next, navigate to: Setup Instrument > Factory Setup> Passcode > 1111 > Menu Mode > Simple.
7 | Finally, turn the instrument off and back on before use. Congratulations, your device has been optimized!
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is redunant with the last step on the previous tab.